## README
sheet | about
Basic Site Data | Location and other information about the site
PWV | Median Monthly Precipitable Water Vapor (PWV) | Note: vlaues are currently arbitrarily set to 0.1 due to lack of data
LWP | Days with at Least 50 microns Liquid Water Path (LWP)
Zenith Opacity | Zenith Opacity at 230 GHz

## Basic Site Data
ID | Locality | Country | Latitude | Longitude | Elevation | Site or Region | Owner | Antenna Count | Dish Dia. | RMS surf err | Region | Polar/Non-polar | EHT | Existing Infrastructure | Site Acquisition | Radiometer Testing | uv_M87 | uv_SgrA*
ALMA | Antofagasta | Chile | -23.03 | -67.75 | 5070 | Site | NSF… | 25 | 12 | 25 | S. America | Non-polar | 1 | Partial | 1 | Yes | 1 | 1
APEX | Antofagasta | Chile | -23.01 | -67.76 | 5100 | Site | ESO | 1 | 12 | 25 | S. America | Non-polar | 1 | Partial | 1 | No | 1 | 1
GLT | Avaannata | Greenland | 76.54 | -68.69 | 90 | Site | SAO | 1 | 12 | 50 | N. America / Europe | Non-polar | 1 | Partial | 1 | Yes | 1 | 0
IRAM-30m | Pico Veleta, Granada | Spain | 37.07 | -3.39 | 2920 | Site | IRAM | 1 | 30 | 55 | N. America / Europe | Non-polar | 1 | Partial | 1 | No | 1 | 1
JCMT | Hawaii | US | 19.82 | -155.48 | 4120 | Site |  | 1 | 15 | 24 | N. America / Europe | Non-polar | 1 | Partial | 1 | No | 1 | 1
KP | Arizona | US | 31.96 | -111.61 | 1900 | Site | UA | 1 | 12 | 16 | N. America / Europe | Non-polar | 1 | Partial | 1 | No | 1 | 1
LMT | Puebla | Mexico | 18.98 | -97.31 | 4600 | Site | Umass, ... | 1 | 50 | 80 | N. America / Europe | Non-polar | 1 | Partial | 1 | No | 1 | 1
NOEMA | Plateau de Bure | France | 44.63 | 5.91 | 2620 | Site | IRAM | 12 | 15 | 35 | N. America / Europe | Non-polar | 1 | Partial | 1 | No | 1 | 1
SMA | Hawaii | US | 19.82 | -155.48 | 4110 | Site | SAO | 8 | 6 | 20 | N. America / Europe | Non-polar | 1 | Partial | 1 | Yes | 1 | 1
SMT | Arizona | US | 32.7 | -109.89 | 3160 | Site |  | 1 | 10 | 15 | N. America / Europe | Non-polar | 1 | Partial | 1 | No | 1 | 1
SPT | South Pole | Antarctica | -90 | 45 | 2820 | Site | SAO | 1 | 10 | 25 | Antarctica | Polar | 1 | Partial | 1 | No | 0 | 1
BAJA | Baja California | Mexico | 31.045 | -115.464 | 2500 | Region |  | 1 |  | 25 | N. America / Europe | Non-polar | 0 | Complete | 0 | No | 1 | 1
BAN | Alberta | Canada | 53 | -118 | 2000 | Region |  | 1 |  | 25 | N. America / Europe | Non-polar | 0 | Partial | 0 | No | 1
BAR | California | US | 37.584 | -118.237 | 3800 | Site | UCLA | 1 |  | 25 | N. America / Europe | Non-polar | 0 | Partial | 0 | Yes | 1 | 1
BGA | Sofia | Bulgaria | 42 | 24 | 2500 | ? |  | 1 |  | 25 | N. America / Europe | Non-polar | 0 | Remote | 0 | No | 1 | 1
BGK | Westfjords | Iceland | 66 | -23 | 500 | ? |  | 1 |  | 25 | N. America / Europe | Non-polar | 0 | Partial | 0 | No | 1 | 0
BLDR | Colorado | US | 40 | -105 | 2500 | Region |  | 1 |  | 25 | N. America / Europe | Non-polar | 0 | Complete | 1 | No | 1 | 1
BMAC | Eastern Cape | Zambia | -31 | 28 | { | Region |  | 1 |  | 25 | Africa | Non-polar | 0 | Partial | 0 | No | 1 | 1
BOL | La Paz | Bolivia | -16 | -68 | 5000 | Region |  | 1 |  | 25 | S. America | Non-polar | 0 | Partial | 0 | No | 1 | 1
BRZ | Espírito Santo | Brazil | -20 | -42 | 2500 | Site | ? | 1 |  | 25 | S. America | Non-polar | 0 | Partial | 0 | No | 1 | 1
CAS | Tierra del Fuego | Argentina | -55 | -68 | 500 | Region |  | 1 |  | 25 | S. America | Non-polar | 0 | Partial | 0 | No | 1 | 1
CAT | Río Negro | Argentina | -41 | -71 | 2000 | Region |  | 1 |  | 25 | S. America | Non-polar | 0 | Partial | 0 | No | 1 | 1
CNI | La Palma | Canary Islands | 28.7566 | -17.892 | 2267 | Site |  | 1 |  | 25 | N. America / Europe | Non-polar | 0 | Complete | 0 | Yes | 1 | 1
Dome A |  | Antarctica | -80 | 77 | 4000 | Site |  | 1 |  | 25 | Antarctica | Polar | 0 | Remote | 0 | No | 0 | 1
Dome C |  | Antarctica | -75 | 123 | 3000 | Site | China | 1 |  | 25 | Antarctica | Polar | 0 | Remote | 0 | No | 0 | 1
Dome F |  | Antarctica | -78 | 39 | 3500 | Site |  | 1 |  | 25 | Antarctica | Polar | 0 | Remote | 0 | No | 0 | 1
ERB | Kurdistan | IQ | 37 | 44 | 2000 | Region? |  | 1 |  | 25 | Asia | Non-polar | 0 | Remote | 0 | No | 1 | 1
FAIR | Alaska | US | 65 | -145 | 1000 | Region |  | 1 |  | 25 | N. America / Europe | Polar | 0 | Remote | 1 | No | 1 | 1
FUJI | Fujinomiya & Yamanashi | Japan | 35 | 139 | 3500 | Site |  | 1 |  | 25 | Asia | Non-polar | 0 | Partial | 0 | No | 1 | 1
GAM | Khomas | Namibia | -23.27 | 16.5 | 2000 | Site |  | 1 |  | 25 | Africa | Polar | 0 | Complete | 0 | No | 1 | 1
GARS |  | Antarctica | -63.32 | -57.9 | 100 | Site | Chile/Germany | 1 |  | 25 | Antarctica | Non-polar | 0 | Partial | 0 | No | 0 | 1
GLT-S | Northeastern | Greenland | 73 | -38 | 3000 | Site | Greenland | 1 |  | 25 | N. America / Europe | Non-polar | 0 | Remote | 0 | No | 1 | 0
HAN | Jammu & Kashmir | India | 33 | 79 | 4000 | Region |  | 1 |  | 25 | Asia | Non-polar | 0 | Complete | 0 | No | 1 | 1
HAY | Massachusetts | US | 42.6234 | -71.488 | 131 | Site | MIT | 1 | 37 | 85 | N. America / Europe | Non-polar | 0 | Complete | 0 | Yes | 1 | 1
HOP | Arizona | US | 32 | -111 | 2000 | Site | SAO? | 1 |  | 25 | N. America / Europe | Non-polar | 0 | Complete | 0 | No | 1 | 1
JELM | Wyoming | US | 41 | -106 | 2500 | ? |  | 1 |  | 25 | N. America / Europe | Non-polar | 0 | Remote | 0 | No | 1 | 1
KEN | Meru | Kenya | 0 | 37 | 4000 | ? |  | 1 |  | 25 | Africa | Non-polar | 0 | Remote | 0 | No | 1 | 1
KILI | Kilimanjaro | Tanzania | -3 | 37 | 4500 | Site | Tanzania | 1 |  | 25 | Africa | Non-polar | 0 | Remote | 0 | No | 1 | 1
KVNYS | Seoul | Korea | 38 | 127 | 0 | Region |  | 1 |  | 25 | Asia | Non-polar | 0 | Complete | 0 | No | 1 | 1
LAS | Coquimbo | Chile | -29.25 | -70.738 | 2400 | Site | ? | 1 |  | 25 | S. America | Non-polar | 0 | Complete | 0 | Yes | 1 | 1
LLA | Salta | Argentina | -24.78 | -65.4 | 4500 | Site | ? | 1 |  | 25 | S. America | Non-polar | 0 | Complete | 0 | No | 1 | 1
LOS | New Mexico | US | 36 | -106 | 2000 | Site | ? | 1 |  | 25 | N. America / Europe | Non-polar | 0 | Complete | 0 | No | 1 | 1
NOB | Nagano | Japan | 36 | 138 | 1000 | Region? |  | 1 |  | 25 | Asia | Non-polar | 0 | Complete | 0 | No | 1 | 1
NOR | Gifu | Japan | 36 | 138 | 2500 | ? |  | 1 |  | 25 | Asia | Non-polar | 0 | Partial | 0 | No | 1 | 1
NZ | Canterbury | New Zealand | -44 | 171 | 2000 | Region |  | 1 |  | 25 | Australia / NZ | Non-polar | 0 | Partial | 0 | No | 1 | 1
ORG | Oregon | US | 42 | -118 | 2000 | Region |  | 1 |  | 25 | N. America / Europe | Non-polar | 0 | Complete | 1 | No | 1 | 1
OVRO | California | US | 37.234 | -118.282 | 1222 | Site | Cal Tech | 1 |  | 25 | N. America / Europe | Non-polar | 0 | Complete | 0 | Yes | 1 | 1
PAR | Antofagasta | Chile | -25 | -70 | 2500 | Site | ? | 1 |  | 25 | S. America | Non-polar | 0 | Complete | 0 | No | 1 | 1
PIKE | Colorado | US | 38.84 | -105.04 | 4000 | Site |  | 1 |  | 25 | N. America / Europe | Non-polar | 0 | Complete | 0 | No | 1 | 1
SAN | California | US | 34 | -117 | 2500 | Region |  | 1 |  | 25 | N. America / Europe | Non-polar | 0 | Complete | 0 | No | 1 | 1
SGO | Santiago | Chile | -33.39 | -70.54 | 3500 | Region |  | 1 |  | 25 | S. America | Non-polar | 0 | Partial | 0 | No | 1 | 1
SOC | New Mexico | US | 34 | -108 | 2000 | Site | ? | 1 |  | 25 | N. America / Europe | Non-polar | 0 | Complete | 0 | No | 1 | 1
SPX | Bern | CH? | 47 | 8 | 3500 | Region? |  | 1 |  | 25 | N. America / Europe | Non-polar | 0 | Complete | 0 | No | 1 | 1
SUF | Jizzakh | Uzbekistan | 40 | 68 | 2000 | ? |  | 1 |  | 25 | S. America | Non-polar | 0 | Complete | 0 | No | 1 | 1
YAN | Huanca Sancos | Peru | -14 | -75 | 4500 | ? |  | 1 |  | 25 | S. America | Non-polar | 0 | Remote | 0 | No | 1 | 1
YBG | Yangbajing Tibet | China | 30 | 91 | 4000 | Site | China | 1 |  | 25 | N. America / Europe | Non-polar | 0 | Complete | 0 | No | 1 | 1

## PWV
ID | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec
ALMA | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
APEX | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
GLT | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
IRAM-30m | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
JCMT | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
KP | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
LMT | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
NOEMA | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
SMA | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
SMT | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
SPT | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
BAJA | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
BAN | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
BAR | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
BGA | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
BGK | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
BLDR | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
BMAC | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
BOL | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
BRZ | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
CAS | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
CAT | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
CNI | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
Dome A | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
Dome C | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
Dome F | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
ERB | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
FAIR | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
FUJI | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
GAM | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
GARS | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
GLT-S | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
HAN | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
HAY | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
HOP | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
JELM | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
KEN | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
KILI | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
KVNYS | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
LAS | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
LLA | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
LOS | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
NOB | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
NOR | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
NZ | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
ORG | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
OVRO | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
PAR | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
PIKE | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
SAN | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
SGO | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
SOC | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
SPX | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
SUF | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
YAN | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
YBG | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1

## LWP
ID | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec
ALMA | 1 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5
APEX | 1 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5
GLT | 2 | 2 | 2 | 5.5 | 9 | 9.5 | 10 | 11.5 | 13 | 10 | 7 | 4.5
IRAM-30m | 2 | 3 | 4 | 3.5 | 3 | 1.5 | 0 | 1 | 2 | 3 | 4 | 3
JCMT | 1 | 2 | 3 | 2 | 1 | 0.5 | 0 | 1 | 2 | 2 | 2 | 1.5
KP | 2 | 1.5 | 1 | 0.5 | 0 | 4.5 | 9 | 6.5 | 4 | 2.5 | 1 | 1.5
LMT | 0 | 1 | 2 | 4.5 | 7 | 8.5 | 10 | 12.5 | 15 | 8.5 | 2 | 1
NOEMA | 4 | 4.5 | 5 | 7.5 | 10 | 8 | 6 | 6 | 6 | 5.5 | 5 | 4.5
SMA | 1 | 2 | 3 | 2 | 1 | 0.5 | 0 | 1 | 2 | 2 | 2 | 1.5
SMT | 2 | 1.5 | 1 | 1 | 1 | 5.5 | 10 | 8 | 6 | 3.5 | 1 | 1.5
SPT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BAJA | 1 | 0.5 | 0 | 0 | 0 | 1.5 | 3 | 2.5 | 2 | 1 | 0 | 0.5
BAN | 6 | 8.5 | 11 | 12 | 13 | 14.5 | 16 | 13.5 | 11 | 10 | 9 | 7.5
BAR | 1 | 1 | 1 | 2 | 3 | 3 | 3 | 2 | 1 | 0.5 | 0 | 0.5
BGA | 3 | 4.5 | 6 | 9.5 | 13 | 11.5 | 10 | 8.5 | 7 | 5 | 3 | 3
BGK | 23 | 23 | 23 | 21 | 19 | 17.5 | 16 | 19 | 22 | 22 | 22 | 22.5
BLDR | 2 | 2.5 | 3 | 5 | 7 | 7 | 7 | 6 | 5 | 3.5 | 2 | 2
BMAC | 10 | 9 | 8 | 5 | 2 | 1.5 | 1 | 1 | 1 | 2.5 | 4 | 7
BOL | 17 | 15 | 13 | 9 | 5 | 4 | 3 | 5.5 | 8 | 9 | 10 | 13.5
BRZ | 13 | 15 | 17 | 12 | 7 | 5 | 3 | 4 | 5 | 10.5 | 16 | 14.5
CAS | 26 | 24.5 | 23 | 21 | 19 | 18 | 17 | 17.5 | 18 | 21 | 24 | 25
CAT | 5 | 5.5 | 6 | 7.5 | 9 | 8.5 | 8 | 8 | 8 | 8 | 8 | 6.5
CNI | 1 | 1.5 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1.5
Dome A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dome C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dome F | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ERB | 5 | 6 | 7 | 5 | 3 | 1.5 | 0 | 0 | 0 | 2.5 | 5 | 5
FAIR | 3 | 3 | 3 | 7.5 | 12 | 15.5 | 19 | 14.5 | 10 | 7 | 4 | 3.5
FUJI | 1 | 1.5 | 2 | 3 | 4 | 7 | 10 | 8.5 | 7 | 4.5 | 2 | 1.5
GAM | 8 | 7.5 | 7 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0.5 | 1 | 4.5
GARS | 22 | 21.5 | 21 | 19.5 | 18 | 16 | 14 | 14.5 | 15 | 18 | 21 | 21.5
GLT-S | 0 | 0 | 0 | 0.5 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0 | 0
HAN | 0 | 0.5 | 1 | 2 | 3 | 5 | 7 | 5.5 | 4 | 2 | 0 | 0
HAY | 9 | 9.5 | 10 | 11.5 | 13 | 12 | 11 | 9.5 | 8 | 8.5 | 9 | 9
HOP | 2 | 1.5 | 1 | 0.5 | 0 | 6 | 12 | 9 | 6 | 3.5 | 1 | 1.5
JELM | 2 | 2.5 | 3 | 5 | 7 | 6.5 | 6 | 5 | 4 | 3 | 2 | 2
KEN | 4 | 6.5 | 9 | 9.5 | 10 | 10.5 | 11 | 9.5 | 8 | 11.5 | 15 | 9.5
KILI | 5 | 7 | 9 | 6.5 | 4 | 2 | 0 | 0.5 | 1 | 6 | 11 | 8
KVNYS | 4 | 4.5 | 5 | 5.5 | 6 | 9.5 | 13 | 10 | 7 | 7.5 | 8 | 6
LAS | 0 | 0 | 0 | 0.5 | 1 | 1 | 1 | 0.5 | 0 | 0 | 0 | 0
LLA | 5 | 3.5 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5
LOS | 2 | 2 | 2 | 2.5 | 3 | 6 | 9 | 7.5 | 6 | 4 | 2 | 2
NOB | 5 | 7 | 9 | 9.5 | 10 | 14.5 | 19 | 17.5 | 16 | 13 | 10 | 7.5
NOR | 4 | 5 | 6 | 7 | 8 | 12 | 16 | 13.5 | 11 | 7.5 | 4 | 4
NZ | 12 | 10.5 | 9 | 10 | 11 | 10.5 | 10 | 10.5 | 11 | 11.5 | 12 | 12
ORG | 4 | 6 | 8 | 7.5 | 7 | 4 | 1 | 1.5 | 2 | 3.5 | 5 | 4.5
OVRO | 3 | 3 | 3 | 3.5 | 4 | 4 | 4 | 2.5 | 1 | 1.5 | 2 | 2.5
PAR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PIKE | 1 | 1 | 1 | 2 | 3 | 5.5 | 8 | 5.5 | 3 | 1.5 | 0 | 0.5
SAN | 2 | 1.5 | 1 | 1 | 1 | 2 | 3 | 2 | 1 | 0.5 | 0 | 1
SGO | 1 | 0.5 | 0 | 1 | 2 | 1.5 | 1 | 1 | 1 | 0.5 | 0 | 0.5
SOC | 2 | 2 | 2 | 2 | 2 | 6.5 | 11 | 9.5 | 8 | 4.5 | 1 | 1.5
SPX | 2 | 2.5 | 3 | 7.5 | 12 | 12 | 12 | 9.5 | 7 | 5 | 3 | 2.5
SUF | 4 | 5 | 6 | 7.5 | 9 | 5 | 1 | 0.5 | 0 | 1.5 | 3 | 3.5
YAN | 19 | 19.5 | 20 | 14.5 | 9 | 6.5 | 4 | 6.5 | 9 | 10.5 | 12 | 15.5
YBG | 0 | 0 | 0 | 2 | 4 | 10 | 16 | 13 | 10 | 5 | 0 | 0

## Zenith Opacity
ID | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec
ALMA | 0.13 | 0.15 | 0.08 | 0.06 | 0.04 | 0.04 | 0.03 | 0.03 | 0.04 | 0.04 | 0.04 | 0.07
APEX | 0.13 | 0.15 | 0.08 | 0.06 | 0.04 | 0.04 | 0.03 | 0.03 | 0.04 | 0.04 | 0.04 | 0.07
GLT | 0.16 | 0.15 | 0.15 | 0.21 | 0.37 | 0.65 | 0.84 | 0.82 | 0.53 | 0.37 | 0.24 | 0.17
IRAM-30m | 0.14 | 0.13 | 0.15 | 0.2 | 0.24 | 0.3 | 0.26 | 0.33 | 0.29 | 0.26 | 0.19 | 0.15
JCMT | 0.06 | 0.08 | 0.08 | 0.08 | 0.08 | 0.09 | 0.11 | 0.09 | 0.08 | 0.11 | 0.09 | 0.07
KP | 0.21 | 0.21 | 0.24 | 0.25 | 0.29 | 0.45 | 1.47 | 1.31 | 0.92 | 0.4 | 0.26 | 0.24
LMT | 0.09 | 0.09 | 0.13 | 0.19 | 0.25 | 0.4 | 0.37 | 0.39 | 0.49 | 0.26 | 0.14 | 0.09
NOEMA | 0.16 | 0.16 | 0.19 | 0.27 | 0.37 | 0.46 | 0.48 | 0.45 | 0.39 | 0.29 | 0.25 | 0.17
SMA | 0.06 | 0.08 | 0.08 | 0.08 | 0.08 | 0.09 | 0.11 | 0.09 | 0.08 | 0.11 | 0.09 | 0.07
SMT | 0.12 | 0.11 | 0.13 | 0.15 | 0.17 | 0.3 | 0.82 | 0.73 | 0.48 | 0.19 | 0.13 | 0.13
SPT | 0.06 | 0.05 | 0.05 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.06
BAJA | 0.13 | 0.11 | 0.12 | 0.13 | 0.14 | 0.19 | 0.67 | 0.56 | 0.34 | 0.16 | 0.13 | 0.13
BAN | 0.24 | 0.2 | 0.27 | 0.3 | 0.43 | 0.62 | 0.69 | 0.65 | 0.48 | 0.36 | 0.27 | 0.21
BAR | 0.11 | 0.08 | 0.11 | 0.12 | 0.16 | 0.19 | 0.29 | 0.21 | 0.17 | 0.14 | 0.11 | 0.09
BGA | 0.15 | 0.16 | 0.19 | 0.25 | 0.37 | 0.46 | 0.42 | 0.39 | 0.36 | 0.26 | 0.21 | 0.15
BGK | 0.58 | 0.54 | 0.51 | 0.54 | 0.62 | 0.76 | 0.89 | 0.92 | 0.89 | 0.73 | 0.6 | 0.53
BLDR | 0.21 | 0.2 | 0.24 | 0.31 | 0.46 | 0.54 | 0.84 | 0.73 | 0.53 | 0.36 | 0.24 | 0.2
BMAC | 0.63 | 0.62 | 0.49 | 0.3 | 0.22 | 0.12 | 0.13 | 0.16 | 0.21 | 0.3 | 0.37 | 0.49
BOL | 0.39 | 0.42 | 0.34 | 0.24 | 0.15 | 0.12 | 0.09 | 0.11 | 0.17 | 0.27 | 0.27 | 0.37
BRZ | 0.71 | 0.63 | 0.97 | 0.63 | 0.43 | 0.33 | 0.24 | 0.22 | 0.36 | 0.71 | 0.94 | 0.94
CAS | 0.8 | 0.76 | 0.71 | 0.6 | 0.49 | 0.48 | 0.45 | 0.46 | 0.48 | 0.54 | 0.63 | 0.73
CAT | 0.31 | 0.34 | 0.32 | 0.29 | 0.31 | 0.3 | 0.26 | 0.29 | 0.24 | 0.27 | 0.29 | 0.31
CNI | 0.16 | 0.13 | 0.16 | 0.16 | 0.19 | 0.22 | 0.26 | 0.39 | 0.33 | 0.3 | 0.22 | 0.17
Dome A | 0.03 | 0.03 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.03 | 0.03
Dome C | 0.05 | 0.04 | 0.04 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.04 | 0.05
Dome F | 0.04 | 0.04 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.04
ERB | 0.24 | 0.27 | 0.31 | 0.42 | 0.54 | 0.48 | 0.49 | 0.46 | 0.43 | 0.45 | 0.33 | 0.26
FAIR | 0.21 | 0.2 | 0.17 | 0.27 | 0.49 | 0.8 | 1.02 | 0.87 | 0.56 | 0.36 | 0.2 | 0.22
FUJI | 0.04 | 0.05 | 0.06 | 0.08 | 0.13 | 0.29 | 0.49 | 0.49 | 0.34 | 0.13 | 0.07 | 0.04
GAM | 0.94 | 1.02 | 0.84 | 0.56 | 0.33 | 0.19 | 0.19 | 0.2 | 0.3 | 0.42 | 0.48 | 0.62
GARS | 0.71 | 0.76 | 0.78 | 0.6 | 0.58 | 0.53 | 0.4 | 0.4 | 0.48 | 0.58 | 0.62 | 0.67
GLT-S | 0.06 | 0.06 | 0.05 | 0.06 | 0.09 | 0.13 | 0.16 | 0.15 | 0.13 | 0.08 | 0.06 | 0.05
HAN | 0.07 | 0.11 | 0.12 | 0.17 | 0.22 | 0.3 | 0.53 | 0.56 | 0.26 | 0.12 | 0.08 | 0.07
HAY | 0.42 | 0.45 | 0.54 | 0.78 | 1.35 | 1.77 | 2.21 | 2.04 | 1.51 | 1.05 | 0.65 | 0.53
HOP | 0.17 | 0.17 | 0.19 | 0.21 | 0.24 | 0.42 | 1.27 | 1.14 | 0.8 | 0.33 | 0.21 | 0.19
JELM | 0.19 | 0.17 | 0.21 | 0.27 | 0.39 | 0.45 | 0.65 | 0.58 | 0.43 | 0.3 | 0.2 | 0.17
KEN | 0.16 | 0.17 | 0.22 | 0.46 | 0.39 | 0.33 | 0.34 | 0.31 | 0.26 | 0.34 | 0.43 | 0.3
KILI | 0.19 | 0.17 | 0.26 | 0.37 | 0.26 | 0.15 | 0.09 | 0.12 | 0.13 | 0.17 | 0.31 | 0.31
KVNYS | 0.24 | 0.29 | 0.39 | 0.65 | 1.02 | 1.97 | 3.22 | 3 | 1.56 | 0.8 | 0.56 | 0.29
LAS | 0.29 | 0.27 | 0.22 | 0.19 | 0.2 | 0.16 | 0.14 | 0.14 | 0.14 | 0.15 | 0.17 | 0.2
LLA | 0.22 | 0.26 | 0.13 | 0.07 | 0.05 | 0.04 | 0.04 | 0.04 | 0.05 | 0.04 | 0.06 | 0.12
LOS | 0.24 | 0.26 | 0.27 | 0.34 | 0.42 | 0.56 | 1.17 | 1.08 | 0.8 | 0.43 | 0.27 | 0.25
NOB | 0.24 | 0.25 | 0.31 | 0.46 | 0.71 | 1.35 | 2.04 | 2.12 | 1.51 | 0.73 | 0.43 | 0.29
NOR | 0.08 | 0.08 | 0.09 | 0.14 | 0.21 | 0.48 | 0.84 | 0.87 | 0.53 | 0.16 | 0.12 | 0.09
NZ | 0.43 | 0.4 | 0.34 | 0.34 | 0.3 | 0.24 | 0.24 | 0.24 | 0.3 | 0.34 | 0.37 | 0.43
ORG | 0.24 | 0.24 | 0.27 | 0.3 | 0.42 | 0.46 | 0.53 | 0.51 | 0.42 | 0.36 | 0.27 | 0.24
OVRO | 0.42 | 0.42 | 0.49 | 0.51 | 0.67 | 0.67 | 0.97 | 0.76 | 0.67 | 0.56 | 0.45 | 0.4
PAR | 0.2 | 0.21 | 0.16 | 0.14 | 0.13 | 0.11 | 0.09 | 0.09 | 0.09 | 0.11 | 0.11 | 0.14
PIKE | 0.07 | 0.07 | 0.08 | 0.12 | 0.16 | 0.2 | 0.36 | 0.31 | 0.2 | 0.12 | 0.08 | 0.07
SAN | 0.15 | 0.13 | 0.15 | 0.16 | 0.21 | 0.21 | 0.63 | 0.48 | 0.31 | 0.2 | 0.15 | 0.15
SGO | 0.16 | 0.15 | 0.13 | 0.12 | 0.13 | 0.11 | 0.11 | 0.11 | 0.11 | 0.12 | 0.12 | 0.13
SOC | 0.24 | 0.25 | 0.27 | 0.31 | 0.39 | 0.56 | 1.31 | 1.24 | 0.94 | 0.45 | 0.29 | 0.26
SPX | 0.09 | 0.09 | 0.11 | 0.15 | 0.24 | 0.3 | 0.3 | 0.29 | 0.21 | 0.15 | 0.14 | 0.09
SUF | 0.22 | 0.25 | 0.37 | 0.46 | 0.62 | 0.65 | 0.62 | 0.54 | 0.42 | 0.36 | 0.29 | 0.2
YAN | 0.56 | 0.6 | 0.6 | 0.49 | 0.37 | 0.29 | 0.24 | 0.27 | 0.37 | 0.43 | 0.45 | 0.53
YBG | 0.07 | 0.08 | 0.12 | 0.17 | 0.29 | 0.58 | 0.82 | 0.78 | 0.63 | 0.2 | 0.09 | 0.07

## ALMA Rx Data
ALMA Band | Wavelength coverage (mm) | Noise Temperature (K) Specification | Frequency (GHz) | Produced by | Receiver Technology | First light | Useful constants
1 | 6–8.5 | 26 | 35 – 50 | TBD | HEMT | TBD | Boltzman Constant | 1.3806e-23
2 | 3.3–4.5 | 47 | 65 – 90 | TBD | HEMT | TBD | Speed of light | 299792458
3 | 2.6–3.6 | 60 | 84 – 116 | HIA | SIS | 2009 | m^2 kg sec^-2 K-1 to Janskys | 1e+26
4 | 1.8–2.4 | 82 | 125 – 163 | NAOJ | SIS | 2013
5 | 1.4–1.8 | 105 | 163 – 211 | OSO / NOVA | SIS | 2016
6 | 1.1–1.4 | 136 | 211 – 275 | NRAO | SIS | 2009
7 | 0.8–1.1 | 219 | 275 – 373 | IRAM | SIS | 2009
8 | 0.6–0.8 | 292 | 385 – 500 | NAOJ | SIS | 2013
9 | 0.4–0.5 | 261 | 602 – 720 | NOVA | SIS | 2011
10 | 0.3–0.4 | 344 | 787 – 950 | NAOJ | SIS | 2012
AA is ALMA; AP is APEX; AZ is Mt Hopkins; BA is BAJA; BR is Barcroft; CI is CNI (Canary Islands);
CT is CAT (Rio Negro Argentina); GB is Gamsberg Namibia, GAMS in Alex's list; GL is Greenland;
GR is GARS; HA is HAY (Haystack); JC is JCMT; KP is Kitt Peak; LM is LMT; NZ is New Zealand;
OV is OVRO; PB is NOEMA; PV is IRAM-30m; SG is SGO (Santiago); SM is SMA; SP is the SPT.